BILL NO.  12-					     ORDINANCE NO.

AN ORDINANCE REPEALING ARTICLE XI OF CHAPTER 15 OF THE CITY CODE REGARDING ROOMS TO LEASE, LET, HIRE OR RENT, AND ENACTING A NEW ARTICLE XI OF CHAPTER 15 REGARDING RESIDENTIAL RENTAL LICENSING

NOW, THEREFORE, BE IT ORDAINED BY THE COUNCIL OF THE CITY OF CAPE GIRARDEAU, MISSOURI, AS FOLLOWS:

ARTICLE 1.  Article XI of Chapter 15, of the Code of Ordinances of the City of Cape Girardeau, Missouri, relating to Rooms to Lease, Let, Hire or Rent, containing Sections 15-336 through 15-339, reading as follows:

Sec.	15-336  - License required; fee.

All persons who house college students and other persons who have rooms to let, lease, hire or rent, and all such persons who own such property, shall procure annually a license from the city clerk. Such license shall cost one dollar ($1.00) per year.

Sec. 15-337. - Application for license.

The application for a license required by this article shall be in the following form:

APPLICATION BY OWNER OR POSSESSOR OF CAPE GIRARDEAU REAL ESTATE TO LEASE OR RENT ROOMS FOR HIRE

(1) 	Name ______________________________________

(2) 	Location of property ______________________

(3)	Name and address of property owner ________

(4)	Number of rooms in home rented or for rent, lease, let or hire _____________________________

(5)	Number of persons occupying or to occupy the

foregoing rooms ________________________________

(6)	Number of persons occupying the foregoing rooms

________________________________________________

A. 	With automobiles ______________________

B.	With motorcycles ______________________

C.	Other forms of motor vehicles _________

(7)	Number of off-street parking spaces provided for persons occupying or to occupy the foregoing rooms ______________________________________________________.

I agree that authorized personnel of the City of Cape  Girardeau and State of Missouri at reasonable times may inspect my property for purposes of determining health, fire, electric, plumbing and other factors affecting the safety and welfare of those persons who occupy the premises described herein.

I certify that the foregoing answers are true and  correct according to my best information and belief.

Applicant _________________________________________

Address ___________________________________________

Telephone Number __________________________________

Sec. 15-338. - Form of license.

The license issued under this article shall be in the following form:

City of Cape Girardeau

Cape Girardeau, Missouri

TO WHOM IT MAY CONCERN:

Know ye, that ____________ (applicant) ____________  having on the ____________ day of ____________/____________/____________, 19____________, paid to the City Clerk of the City of Cape Girardeau, Missouri, the sum of ONE DOLLAR, being the license tax levied upon such applicant, the said ____________ (applicant) ____________ is hereby authorized and empowered to house college students and to rent, let, lease or hire rooms for rent at ____________ (address) ____________, Cape Girardeau, Missouri, for one year from the date of this license.

IN WITNESS WHEREOF, I have set my hand and affixed the  seal of said city at Cape Girardeau, Missouri.

|  | ______________________________ City Clerk |
| --- | --- |
| (SEAL) |  |
| Dated: _______ |  |

Sec. 15-339. - Penalty for violation.

Any person, whether owner of the licensed premises or the holder of the license, who violates any of the provisions of this article shall be deemed guilty of a misdemeanor and upon conviction thereof shall be punished by a fine of not less than ten dollars ($10.00) nor more than five hundred dollars ($500.00) for each offense. Every day thereafter that any such person shall violate any term or provision of this article shall be deemed to be a separate offense.

are hereby repealed in their entirety, and new Article XI of Chapter 15 of the City of Cape Girardeau, Missouri, containing Sections 15-336 through 15-352 is hereby enacted in lieu thereof, in words and figures, to read as follows:

Sec. 15-336 - Definitions.

Words or phrases in this Article shall be interpreted so as to give them the same meaning as they have in common usage.  However, for the purpose of this Article, the following terms shall have the meanings ascribed to them in this Section, except where the context clearly indicates a different meaning:

Approved.  Accepted by the code official.

Building.  A roofed and walled structure built for use as a dwelling.

City.  The City of Cape Girardeau, Missouri.

City Manager.  The City Manager or his or her designee.

Code official.  Officer or other designated authority charged with the administration and enforcement of this ordinance.

Duplex.  A building containing two dwelling units.

Dwelling.  A building, or portion thereof, designed or used predominantly for residential occupancy of a continued nature, including one-family dwellings, two-family dwellings and multiple-family dwellings but not including hotels or motels.

Dwelling unit. A single residential dwelling, or portion thereof, that is arranged, designed, used or, if vacant, intended for use exclusively as a domicile for one family. Where a private garage is structurally attached, it shall be considered as part of the building in which the dwelling unit is located.

Existing Structure. A structure existing prior to the effective date of this ordinance.

Family.

(1)   One (1) or more persons related by blood, marriage, adoption or custodial relationship living as a single housekeeping unit, plus up to two (2) domestic servants; or

(2)    Three (3) or fewer unrelated persons, including any domestic servants, living as a single housekeeping unit; or

- Two (2) unrelated persons, plus their

biological, adopted or foster children or other minors, for whom they have legally established custodial responsibility, plus up to two (2) domestic servants, living as a single housekeeping unit.

The term “family” shall not be construed to mean a fraternity, sorority, club or institutional group.

Flush water closet. A toilet bowl flushed with water with a water-sealed trap.

Garbage. Putrescible animal and vegetable wastes resulting from the handling, preparation, cooking and consumption of food.

Habitable building. A dwelling or dwelling unit that meets the general requirements as stated in Section 11 for use as a home or place of abode by one or more persons.

Habitable room. A room or enclosed floor space used or intended to be used for living, sleeping, cooking, or eating purposes, excluding bathrooms, water closet compartments, laundries, furnace rooms, unfinished basements (those without floor covering, ceiling covering, wall finish, required ventilation, required electric outlets and required exit facilities), pantries, utility rooms of less than fifty square feet of floor space, foyers, communicating corridors, stairways, closets, storage spaces, and workshops, hobby and recreation areas in parts of the structure below ground level or in attics.

Heated water. Water heated to a temperature of not less than one hundred twenty degrees Fahrenheit measured at faucet outlet.

Inspector(s). Code inspectors, fire marshal, fire inspector, police officers or any other person as authorized by the City Manager.

Kitchen. A space containing a sink and counter space sized for food preparation, with adequate space for cooking and refrigeration equipment and storage of cooking utensils.

Multiple-family dwelling. A dwelling containing three or more dwelling units.

Occupant. Any person who lives in a dwelling unit.

Operator. The owner or agent who has charge, care, control, or management of a building, or part thereof, in which dwelling unit or rooming units are let.

Owner. Any person having legal possession of, charge of, care or control of any dwelling or dwelling unit within the city. Any such person representing the actual owner shall be bound to comply with the provisions of this ordinance to the same extent as the owner.

Permissible Occupancy. The maximum number of persons that can legally occupy a dwelling or dwelling unit.

Person. An individual, firm, partnership, association, limited liability corporation, limited liability company, corporation or joint venture or organization of any kind.

Plumbing.  Any or all components of a system designed to convey liquids or gases.

Premises. A parcel, portion of a parcel, or group of parcels under common ownership.

Public hall. A hall, corridor or passageway for providing egress from a dwelling unit to a public way and not within the exclusive control of one family.

Refuse. All putrescible and nonputrescible waste solids including garbage and rubbish.

Rental or rented dwelling or dwelling unit. A dwelling or dwelling unit let or intended to be let for rent or lease.

Repair.  To restore to a sound and acceptable state of operation, serviceability or appearance.

Rodent harborage. Any place where rodents can live, nest or seek shelter.

Rubbish. Nonputrescible solid wastes consisting of both combustible and noncombustible wastes, such as paper, wrappings, cigarettes, cardboard, tin cans, yard clippings, leaves, wood, glass, bedding, crockery and similar materials.

Safety. The condition of being reasonably free from danger and hazards which may cause accidents or disease.

Substandard dwelling.  Any dwelling which does not conform to the general requirements established by this ordinance.

Supplied. Paid for, furnished by, provided by or under the control of the owner, operator, or agent of a dwelling.

Unit.  A family occupancy or a sleeping room of a facility, a boarding house, or a dwelling.

Meaning of certain words – whenever the words “dwelling,” “dwelling unit,” “premises,” or “structure” are used in this Article, they shall be construed as though they were followed by the words “or any part thereof.”

Sec. 15-337 – Fee and license required.

It shall be unlawful for any person to conduct or operate or cause to be rented either as owner, lessee, agent or manager within the City, any rental dwelling unit without paying all applicable fees and obtaining a license as provided in this ordinance. This ordinance shall not apply to hospitals, nursing homes or other rental units used for human habitation which offer or provide medical or nursing services or hotels, motels and dormitories if such units are subject to other City, State or Federal licensing or regulations concerning the safety of the users, patients or tenants.

Sec. 15-338 - Applicability to existing dwelling units.

Within six months after the effective date of this ordinance, the owner of each rental dwelling unit existing on the effective date shall apply to the City Manager or his designee for a license on a form to be supplied by the City and containing such information as necessary to administer and enforce the provisions of, and to insure compliance with, the provisions of this ordinance.

Sec. 15-339 – Issuance of license.

Upon completion of the application process, if the code official finds the requirements of this ordinance have been met for the issuance of a license, a license shall be issued. If the code official finds that the requirements of this ordinance have not been met, a written denial specifying the defects shall be transmitted to the applicant.

Sec. 15-340 – Renewal of License.

The landlord license shall be renewable annually on the anniversary date of issuance.  Licensees shall have a 30 day grace period following the anniversary date to renew the license without a late fee.  Licenses will expire on day thirty-one following the anniversary date. A late fee shall apply upon expiration of thirty-one (31) to sixty (60) days and upon expiration of 61 to 90 days as established by the city fee schedule, as amended.

Sec. 15-341 – Expiration of license.

A licensee whose license has expired longer than ninety (90) days shall be required to apply in the same manner as the required initial application under this Article.

Sec. 15-342 – Suspension or revocation.

A license may be suspended upon a finding by the code official that the licensee has received three (3) or more confirmed complaints or violations. The code official shall give written notice to the license holder of the violations of this ordinance. The suspended license shall be reinstated upon a determination by the code official that the license holder has complied with all the requirements of this ordinance.  If a license has been suspended pursuant to the terms of this section, any dwelling units that are owned or operated by that license holder that are occupied, and that comply with the requirements of this Article, may continue to be occupied by the current tenants during the period of suspension, but the license holder may not rent those dwelling units to any new tenants.  In addition, such license holder may not rent any newly acquired dwelling units until the license has been reinstated.  In the event that a license holder has failed to correct the violations within ninety (90) days after written notice from the code official, or any extension granted by the code official, or has been convicted of two (2) or more violations of this ordinance, the license shall be revoked for a period of one (1) year.  If a license has been revoked, the license holder may not rent or continue to rent any dwelling units to any occupants during the period of revocation.

Sec. 15-343 – Availability of license.

Licenses issued under this Article shall be produced on the request of a tenant or prospective tenant, and shall be available at reasonable times for public inspection.

Sec. 15-344 – Fees.

The annual fee for landlord licensing shall be payable at the time of application or renewal in addition to any late fees imposed.	 The amount of the fees charged shall be established by the city fee schedule, as amended.

Sec. 15-345 – Application.

Every building and its premises, or an accessory structure thereof, used in whole or in part as a rented dwelling or dwelling unit for a single family or person, and every building used in whole or in part as a rented dwelling or dwelling unit of two or more persons or families each living in a separate unit shall conform to the requirements of this ordinance, irrespective of when such building may have been constructed, altered or repaired.

Sec. 15-346 – General requirements.

No owner or other person shall occupy or let to another person any dwelling or dwelling unit unless it and the premises are clean, sanitary, fit for human occupancy, and comply with all applicable legal requirements of the state and the city, including the following requirements:

(1) 	Maintenance of shared or public areas:

Every owner of a dwelling containing two

or more dwelling units shall maintain in a

clean and sanitary condition the shared or

public areas of the dwelling and premises

thereof provided, however, a tenant or

tenants may assume that responsibility;

(2) 	Maintenance of occupied areas: Every

occupant of a dwelling or dwelling unit

shall maintain in a clean and sanitary

condition that part of those parts of the

dwelling, dwelling unit and premises

thereof that he occupies and controls;

(3) 	Pest extermination: every owner of a

dwelling or dwellings shall be responsible

for the extermination of vermin and

rodents on the premises. No occupant of a

dwelling or dwelling unit shall accumulate

fire wood, rubbish, boxes, lumber, scrap

metal or any other materials in such

manner that may provide a rodent harborage

in or about any dwelling or dwelling unit;

stored materials shall be stacked neatly

and safely;

(4) 	Sanitary fixtures and appliances: Every

occupant of a dwelling unit shall keep all

supplied fixtures and facilities therein

in a clean and sanitary condition and

shall be responsible for the exercise of

reasonable care in the proper use and

operation thereof;

(5) 	Minimum heating and maintenance: In every

dwelling unit where the control of the

supplied heat is the responsibility of a

person other than the occupant, a

temperature of at least sixty-eight

degrees (68º) Fahrenheit shall be

maintained at a distance of three feet

above the floor in all habitable rooms,

bathrooms and water closet compartments

from September through May;

(6) 	Minimum exterior lighting: The owner of a

multiple-family dwelling or dwellings

shall be responsible for providing and

maintaining effective illumination near

the entrances of the dwelling;

(7) 	Minimum standards for basis equipment and

facilities: No person shall occupy as

owner, occupant or let to another for

occupancy any dwelling or dwelling unit,

for the purpose of living, sleeping,

cooking or eating therein, which does not

comply with the following requirements:

(a) 	Every dwelling unit shall have a

space in which food may be prepared

and cooked, which shall have

adequate circulation area and which

shall be equipped with the

following;

(b) 	A kitchen sink in good working

condition, connected to an approved

water supply including hot and cold

water and also connected to an

approved sewer system;

(c) 	Cabinets or shelves, for the storage

of eating, drinking and cooking

equipment and utensils;

(d) 	Adequate space and hook-ups shall be

provided for a stove, or similar

device for cooking food and a

refrigerator, or similar device;

(8) 	Toilet facilities: Within every dwelling

unit there shall be a room which affords

privacy to anyone within said room and

which is supplied with a flush toilet in

good working condition, connected to an

approved water and sewer system;

(9) 	Lavatory sink: Within every dwelling there

shall be a lavatory sink; said sink may be

in the same room with the flush toilet or

if located in another room, the sink shall

be placed in close proximity to the door

leading directly into the room containing

the flush toilet; said lavatory sink shall

be connected to an approved water system

with both hot and cold water and also

connected to an approved sewer system;

(10) Bathtub or shower: Within every dwelling

unit there shall be a room which affords

privacy to a person within said room and

which is equipped with a bathtub or shower

in good working condition. Said tub or

shower can be in the same room with the

flush toilet or in another room, shall be

properly connected to an approved water

system with hot and cold water and

connected to an approved sewer system;

(11) Egress: Every dwelling unit in a one or

two story building shall have at least one

means of egress leading to a safe and open

space at ground level. Every dwelling unit

in a three story or taller building shall

have immediate access to two or more means

of egress leading to a safe and open space

at ground level;

(12) Handrails: Structurally sound handrails

shall be provided on any steps containing

four risers or more. If steps are not

enclosed, handrails with vertical posts

spaced no greater than six inches apart

shall be provided. Porches, decks and

balconies located more than thirty inches

from ground level or floor below shall

have approved handrails thirty to thirty-

four inches high. Stairs, balconies and

porches exceeding thirty inches from

ground level or lower floor shall have a

protective railing thirty-six inches in

height, and if unenclosed vertical posts

shall be spaced no greater than six inches

apart. Alternate systems providing at

least the same degree of protection shall

be acceptable;

(13) Access: Access to or egress from each

dwelling unit shall be provided without

passing through any other dwelling or

dwelling unit;

(14) Door locks: No owner shall occupy or let

to be occupied any dwelling or dwelling

unit unless all exterior doors of doors of

the dwelling or dwelling unit are equipped

with safe, functioning locking devices;

(15)	Habitable room ventilation: Every

habitable room shall have a means of

affording adequate ventilation. Where

ventilation is provided by windows alone,

the minimum total of operable window area

in every habitable room shall be at least

5.7 square feet;

(16) Other room ventilation: Every bathroom and

water closet compartment and every laundry

and utility room shall have adequate

ventilation. No window shall be required

if said rooms are equipped with a

ventilation system providing at least

equal ventilation;

(17) Electric service, outlets and fixtures:

Every dwelling unit and all public and

common areas shall be supplied with

electric service, over-current protection

devices, sufficient number of electrical

circuits, electric outlets and electric

fixtures which are property installed,

which shall be energized by an approved

source of electric power and in compliance

with the applicable ordinances of the city

and state. The minimum capacity of said

electric service and the minimum number of

electric outlets and fixtures shall be as

follows:

(a) 	Building containing one or more

dwelling units shall have at least 60

amp service or feeder per dwelling

unit. Main service to multi-family

buildings shall have sufficient

capacity to carry the load as

computed in accordance with city

ordinances.

(b) 	Internal wiring and outlets in single

or multi-family dwellings and shall

conform to the following:

(1)  Every dwelling should have

adequate duplex outlets

(2) 	At least one duplex receptacle

on a separate 20 amp appliance

circuit in the kitchen

(3)	At least one duplex receptacle

on a separate 20 amp circuit for

laundry. Multi-family buildings

may have a common laundry area

with duplex receptacles on

separate 20 amp circuits that

are not overloaded

(4) 	Every habitable room with one-

hundred twenty square feet space

or more shall be provided with

two separate wall type electric

convenience outlets and an

additional outlet for each

eighty square feet or fraction

thereof of habitable floor

space. Required outlets shall

insofar as possible, be spaced

equal distances apart. One

ceiling type or wall type light

fixture controlled by a remote

switch may be supplied in lieu

of one required electric

convenience outlet in each

habitable room. Every public

hall, water closet compartment,

bathroom, laundry room and

furnace room shall contain at

least one supplied electric

light fixture controlled by at

least one switch.

(c) 	All non-functional wiring on the

premises shall be rendered

inaccessible to occupants by

termination in approved junction

boxes;

(d) 	Every public hall and stairway in a

multiple family dwelling shall be

adequately lit by natural or electric

lights at all times, so as to provide

effective illumination in all parts

thereof

(e) 	Alternate methods may be used where

the equivalent objectives can be

achieved while maintaining effective

safety;

(18) Exterior: foundations, exterior walls and

roofs:  The foundation shall adequately support

the building at all points. Every exterior wall

shall be free of deterioration including holes,

breaks, loose or rotting boards or timbers and

any other thing that might admit rain or

dampness to the interior portion of the walls.

The roof shall be tight and have no defects

which might admit rain. Roof drainage shall be

adequate to prevent rain water from causing

dampness to interior walls. All exterior wood

surfaces, other than decay resistant woods,

shall be protected from the elements and decay

by paint or other protective coverings or

treatment. If the exterior surface of such a

wood structure is unpainted or unprotected or

is determined by the code official to be paint-

blistered, it shall be painted or other

acceptable covering applied;

(19) Windows and doors: Every window and exterior

door shall be substantially tight and shall be

kept in sound condition and repair;

(20) Floors, interior walls, ceilings: Every floor,

interior wall, and ceiling shall be adequately

protected against the passage and harborage of

vermin and rodents and shall be kept in sound

condition and good repair. Every floor shall be

free of loose, warped, protruding or rotted

flooring materials. Every interior wall and

ceiling shall be free of large holes, large

creaks and loose plaster and shall be

maintained. Paints or materials remain toxic

after being applied and after drying or

hardening shall not be used. Every toilet room

and bathroom floor surface shall be acceptable

of being easily maintained in a clean and

sanitary manner;

(21) Safe buildings: Every foundation, roof, floor,

exterior wall, interior wall, ceiling inside

and outside stairways, every porch, balcony and

every attachment thereto, shall be safe to use

and capable of supporting loads that may be

anticipated to be placed on them in normal use;

(22) One family per dwelling unit: Not more than one

family, except for temporary guests, shall

occupy a dwelling unit;

(23) Occupancy of sleeping rooms: In every dwelling

unit, every room occupied for sleeping purposes

shall have a minimum floor area of seventy

square feet.  Rooms or areas of unfinished

basements shall not be used as sleeping rooms;

(24) Smoke Detector. Owners of all buildings which

fall under this ordinance shall provide a

minimum of one approved single-station smoke

detector in the sleeping area. When activated,

the smoke detector shall provide an alarm

suitable to warn the occupants within the

individual room or unit.  Common areas

including hallways, stairways and laundry areas

shall have one approved single-station smoke

detector.

Sec. 15-347 – Enforcement and inspection authority.

(1) 	The City Manager or his designee shall enforce

the provisions of this ordinance and is hereby

authorized to make inspections on a scheduled

basis or when reason exists to believe that a

violation of this ordinance has been or is

being committed.

(2) 	Inspection access: If any owner, occupant or

other person in charge of a dwelling or a

dwelling unit fails or refuses to allow free

access and entry to the structure or premises

under his control for any inspection pursuant

to this ordinance the code official may seek a

search warrant or other appropriate court order

authorizing such inspections or may suspend

such license until entry and inspection is

allowed.

Sec. 15-348 – Notice of violation.

Whenever the code official determines that any dwelling or dwelling unit or the premises surrounding any of these fails to meet the requirements set forth in this ordinance, he shall issue a notice setting forth the alleged failure and advising the owner, operator, or agent that such failure must be corrected. This notice shall:

(1)	Be in writing;

(2) 	Set forth the alleged violations of this

Article;

(3) 	Describe the dwelling, dwelling unit or other

premises where the violations are alleged to

exist or to have been committed;

(4) 	Provide a reasonable time, not to exceed sixty

days, for the correction of any alleged

violations; and

(5) 	Be served on the owner, occupant, operator

and/or agent of the dwelling or dwelling unit

personally, or by certified mail, addressed to

the last known place of residence of the owner,

operator or agent. If upon a diligent effort to

locate the owner, occupant, operator or agent,

none can be found, notice may be posted on or

near the dwelling, dwelling unit or premises

described in the notice.

Sec. 15-349 – Secure unfit and vacated dwellings.

The owner, operator, or agent or a dwelling or

dwelling unit which has been declared unfit for human

habitation or which is otherwise vacant for a period of

thirty days or more, shall make it safe and secure so

that it is not hazardous to the health, safety or welfare

of the public and does not constitute a public nuisance.

Any vacant dwelling or dwelling unit with open and

unguarded doors or windows shall be deemed to be a hazard

to the health, safety or welfare of the public and a

public nuisance within the meaning of this Section.  Any

dwelling or dwelling unit determined to be a dangerous

building under Article VII of Chapter 7  of the City Code shall be deemed to be in violation of this Section.

Sec. 15-350 – Process of complaint.

PROCESS OF COMPLAINT.  All complaints shall be made

to the code official in writing, by email, telephone call or other acceptable means.

Sec. 15-351 – Appeal to City Manager.

Any person aggrieved by any decision of the code official may appeal the decision within ten (10) days to the City Manager.

Sec. 15-352 – Penalty.

Except as otherwise provided in this Section, any person violating the provisions of this chapter is guilty of a misdemeanor and upon conviction thereof shall be fined not less than fifty dollars ($50.00) nor more than five hundred dollars ($500.00) for each and every day that such violation continues, or by imprisonment in the city jail for not more than three (3) months, or by both such fine and imprisonment.

ARTICLE 2. If any section, subsection, sentence, clause, phrase or portion of this Ordinance is for any reason held invalid or unconstitutional by any court of competent jurisdiction, such portion shall be deemed a separate, distinct and independent provision and such holding shall not affect the validity of the remaining portions hereof.

ARTICLE 3.  This Ordinance shall be in full force and effect from and after its passage and approval.

PASSED AND APPROVED THIS        DAY OF              , 2012.

Harry E. Rediger, Mayor

ATTEST:

Gayle L. Conrad, City Clerk